The requirements as defined in Annex B1 of PAS 2030:2019 - Cavity wall insulation including party walls.

B.1.3 Inspector Competence

When undertaking a pre-installation building inspection in respect of the installation of cavity wall insulation, the Retrofit Installer shall employ or contract only an inspector meeting the competence requirements of B1-l3 of Table B.1.

B.1.4 Operative Competence

|  | Installation role | Evidence of vocational competence required |
| --- | --- | --- |
| B1-l3 | Building inspector | able to demonstrate vocational competence as defined in 3.26 of PAS 2030:2019. |
| B1-l4 | Operative, (threshold) | Able to demonstrate that vocational competence is being acquired as defined in 3.27 of PAS 2030:2019. |
|  | Operative, (specialist) | Able to demonstrate vocational competence as defined in 3.26 of PAS 2030:2019. |
| B1-l5 | Competence currency | To be verified by the Retrofit Installer at no greater than 12 monthly intervals, as defined in 3.30 of PAS 2030:2019. |
| B1-l6 | Competence ratio | For each installation task to be undertaken, the Installer shall employ or subcontract at the particular location, at least one vocationally competent operative. For each installation, the vocational competence ratio (see 3.28) shall be determined by the Retrofit Installer in relation to the: - range, scale geographical spread and complexity of the work being undertaken; and - supervision and experience of the individual that meets the vocational competence requirements for the relevant tasks and the relative experience of the operatives being supervised. NOTE 1 Where a vocationally competent operative is newly qualified, it may be appropriate for a higher competency ratio to be applied. For each installation task to be undertaken at a particular location, supervision, inspection and confirmation of compliance of all work undertaken in respect of that task at that location shall be undertaken by a vocationally competent operative appointed by the Installer to do so. NOTE 2 It is recommended that vocationally competent operatives carry a document supporting the nature, currency and source of that competency, for production upon request. |

When installing cavity wall insulation, the Retrofit Installer shall employ or contract only operatives with the required level of qualification attained through one of the permitted routes (B1-l4 of Table B.1), with competence currency specified in B1-l5 of Table B.1 at the competency ratio specified in B1-l6 of Table B.1.

3.26 Vocational Competence

Holding a regulated and industry agreed, vocational qualification or apprenticeship, or a personal certificate of competence relevant to the EEM to be installed, or for electrical work compliance with the EAS, all of which include assessment of ability to deliver required outcomes through the practical application of acquired knowledge and skills in a workplace environment.

3.27 (Acquiring) Vocational Competence

Process of becoming vocationally competent through participation in a structured training and/or assessment programme.