Method Statement for [insert measure name] Installation

| Customer Name: |  |
| --- | --- |
| Address of Installation: |  |
| Tel: | Supervisor: |
| Date of Installation: |  |
| Planned Start Time: | Planned Completion Time: |

General

This Method Statement will be compliant with all of the requirements of PAS 2030:2023 and will be made available to each operative who is required to carry out work on this installation. The Supervisor is required to sign at the foot of this Method Statement to confirm that this Method Statement has been available to, and used when required, by operatives undertaking installation tasks.

Should there be any change in this Method Statement, the Supervisor will inform all operatives of any changes and sign to confirm that this has taken place the time and date of such changes will be noted.

The method statement must be accompanied by the Retrofit Design. Work must not begin without this being in the possession of the installer at the property.

All operatives are reminded that we welcome feedback on any area of the installation process. If you have any suggestions or feedback on the installation process, please complete GD F07 Installer Feedback Form.

All operatives should be aware of the importance of their role in the installation process. In order for the measure they are installing to provide the energy savings expected for the customer it needs to be installed correctly. Should you come across anything which may affect the quality of the installation, or if you are not able to work to the instructions in any way you should bring it to the attention of the Supervisor. All Operatives should be present for a Toolbox Talk prior to the installation commencing, if their presence is required.

All operatives are required to act in a courteous and helpful manner to the customer. Operatives must ensure that they are in possession of appropriate identification and will show this to customers when introducing themselves and on request.

Should the customer wish to complain about any aspect of the installation, the Supervisor should complete a GD F11 Customer Complaint Form. This form should be returned to the Retrofit Coordinator.

Should the customer enquire about additional measure related work they should be directed to the Supervisor. The enquiry should be passed to the Retrofit Coordinator to consider how to progress.

Should the customer raise concerns or query any part of the installation, work should cease, and the Supervisor should be informed. The Supervisor should then make such enquiries as may be necessary including liaising with the Retrofit Coordinator. The Retrofit Coordinator must have final say on any remedial actions in respect of the customer's concerns.

Only when the Retrofit Coordinator is satisfied that the problem has been resolved to the satisfaction of all parties, should work continue.

Should any part of the installation not be able to be carried out in accordance with the specification and instructions issued, work should cease, and the operative should inform the Supervisor who will seek further advice from the Retrofit Coordinator before work continues.

Operatives are reminded that they need to be aware of any particular customer needs and requirements; these will be entered on this Method Statement.

Following handover, the customer should be requested to sign a GD F06 Customer Sign Off Form; and invited to give feedback in the comments area of this form. This should be returned with all other installation documentation. Should the customer refuse to sign this form the Retrofit Coordinator should be informed without delay.

If operatives are concerned about the calibration status of any item of tool or equipment due to it being dropped or mistreated, they should cease using the item and retake any measurements taken whilst the item may have been out of calibration.

Should any operative come across evidence of the presence of an endangered or protected species, (e.g. bats) which will be disturbed in any way by the installation process, work should cease, and specialist advice sought through the Retrofit Coordinator.

Should any asbestos containing materials be discovered work must cease immediately, inform the Retrofit Coordinator, and specialist advice sought.

Where other measures are being installed either by us or others, operatives are required to report to the Supervisor any interrelationship they come across that may compromise either the energy efficiency of the property or the suitability of the property for the specified measures.

Operatives should also be aware that where other measures are being installed that they may need to liaise with the installers of these measures to ensure that suitable timetabling of work can be arranged.

All employees and subcontractors will comply with the requirements of PAS 2030:2023 relevant to the installation related tasks to be undertaken, the Health and Safety at Work Act 1974, other relevant health and safety legislation, our own safety policy, risk assessments and method statement, together with any specific site rules and, where applicable, the requirements of the client's safety policy and health and safety plan.

Under no circumstances should any person, including a subcontractor working for us, carry out any works without the appropriate training and instruction.

Distribution of this Document

The Supervisor will make this Method Statement available to all operatives and ensure that it has been used, when required, by operatives undertaking installation tasks. The Supervisor is required to ensure that this Method Statement is returned for retention in the Project Folder for this installation.

Installation Control

All operatives will ensure that the safe means of working, as given by this Method Statement and any associated risk assessments are adhered to. In addition, the Supervisor will periodically inspect the work.

At final commissioning the Supervisor should complete the relevant areas of a GD F01 Project Information Collation Form to confirm that the installation process has been carried out in line with all requirements. The Supervisor should ensure that the names and details of all operatives involved with the installation are listed. This form should be returned to the Retrofit Coordinator. The Supervisor should also issue to the customer all required Building Control notifications or a GD F08 Building Regulations Information Form to inform the customer those certificates will be supplied within 30 days of final commissioning.

The installation will be in accordance with best practice. Where conflict with the requirements of PAS 2030 exists, PAS 2030 takes precedence.

- Information received from the Retrofit Coordinator

We have received the following information from the Retrofit Coordinator:

- Design and specification

You will be given this information from the specifier/designer of the installation – insert it here.

- Any repairs to the building that are required prior to the install of this measure

The required repair is to be photographed prior and after repair, photographs to be stored in the project folder.

- Materials and supplies including checking, handling and storage Instructions

Enter the materials and supplies and their handling and storage instructions here.

- Intermediate inspection

If your work, or the work of others which affect your timetable is subject to any form of intermediate inspection you should enter that information here. You may also need to enter the contact details of other installers who will be affected.

- Specific customer requirements and expectations

Any particular customer requirements/expectations would be entered here.

- Information to be provided to the Customer

Set out the information/documentation you will supply to the customer here.

- Interrelationship between measures and measure installation at the same location

Where other measures are being installed at the same location. set out here any considerations regarding mutual efficiency and effectiveness of measures, working procedures and timetabling of work.

- Operative Training and Competence Ratios

All operatives will be required to comply with the requirements of any training given.

There will be ongoing monitoring and inspection of all operatives to ensure compliance with PAS 2030.

The Training and Competence Record for each operative is kept within the Training Folder. Each operative will have an individual Training Log (GD R07).

The training and skills required are set out in Annex (Enter Relevant Annex) of PAS 2030:2023.

The Supervisor will supervise up to (This number will depend on the experience of both the Supervisor and the Operatives selected and the complexity and geographical spread of the installation(s)) operatives and the competence ratio shall be recorded on to the GD F01 – Project Information Collation Form.

All Operatives

- Health and Safety Induction;

- Ladders and Step Ladders;

- Personal Protective Equipment;

- Manual Handling;

- System Installation Method Statement;

- System Installation Risk Assessment.

Supervisor:

The Supervisor will have the competence level of Specialist / Threshold (delete as appropriate) Operative – Enter name of measure.

Operatives:

Operatives assisting in the installation will have at least the competence level of Threshold Operative – Enter name of measure

The Training and Competence Record for each operative is kept within the Training Folder. Each operative's competence level will be entered on their individual Training Log (GD R07)

The training and skills required are set out in Clause 3 and the relevant annex of PAS 2030:2023.

All operatives employed by or contracted to the Installer will be experienced and trained in the work that they are undertaking. Experienced operatives will supervise any trainees.  Further training will be provided if it is found to be required.

Any plant and machinery will be operated only by those competent and adequately trained.

- Toolbox Talks - Briefing of Staff

All operatives will be fully trained in installation techniques. All will have received a briefing on the methodology and the risks associated with the task. All operatives will be issued with a copy of the following: – Job Risk Assessment and this Method of Work Statement. The Supervisor will also hold a copy. Should the Retrofit Coordinator feel that a full toolbox talk is necessary prior to the installation, all Operatives are required to be present. Any notes from these talks can be recorded here.

- Preparation

The following preparation information is for guidance only, you should amend as required:

- All vehicles will be parked so not to cause any obstruction to any pedestrians or road users;

- Liaise with the customer and explain as clearly as possible what work will be carried out so that they understand what you will be doing;

- Ensure the neighbours are made aware of works being carried out to cause the least disruption possible;

- All equipment and materials will be delivered with the installation team;

- All hand tools will be visually checked before work commences, and if any have been covered with an oil film, these should be wiped clean with a dry cloth before use;

- Any tools that require calibrating or testing will be recorded in GD R04 Tool Calibration, Servicing and Checking Record.

- Safety signs are to be posted if and where required;

- The householders will be informed in which areas ladders are in use to allow them safe entrance and exit to the property. If there is no easy access to the loft, create a permanent entrance of a suitable size, which would allow easy access into the loft for insulation purposes.

- Installation Method

Here you would enter the actual installation method you are going to employ.  It should be site specific and state what is going where. It is not sufficient to just state “according to the manufacturer's instructions” actually state “according to the manufacturer's instructions for the installation of Ideal Boiler Logic Combi 24” for example.

- Issue all required documentation and information to the customer (See Section 1);

- Make sure you leave the property in the same condition you found it, clear up any debris and tidy up.

- Commissioning

This should detail your normal commissioning procedure including tests, adjustments and completion of Building Control notifications, Benchmark Certificates etc.

- Handover

The following operative(s) are authorised to carry out handover to the customer:

Enter the name of operative(s) authorised to carry out the handover here.

You should also detail here the handover requirements and arrangements. This should cover as a minimum the areas below:

- A practicable a viewing of the measure and an explanation of its function and operation;

- A demonstration of the controls etc.

- An explanation of any user guides and manuals needed for the safe and efficient operation of the measure;

- All instruction manuals etc. should be supplied – copies or access to copies will need to be kept.

- Hazards Identified

Any specific hazards should be entered here
Any hazards identified must be reported to your Supervisor.

- Power Tools

Power tools will be 110volts and be subject to portable appliance testing at regular intervals. A visual inspection will be carried out before use.

- Tools and Equipment

Here you will list all the tools and equipment that will be required for the job.

Any tools or equipment which requires calibration should be checked to ensure that calibration certificates/requirements are current.

Should any item of tool or equipment be damaged, dropped or there be any doubt as to its state of calibration, then the item should not be used until it has been checked. Any measurements taken whilst its status was in doubt should be rechecked. Information should be entered onto the Calibration Log and the relevant Project Information Collation Form.

- Safety of Third Parties

All employees and contractors will be made aware of any risks that their work can impose on others in the vicinity.  Work will only be undertaken when risks have been minimised and or when adequate protection is in place.  The Lead Installer will liaise with the client to ensure protection against falling materials is adequate.

- Related Legislation and Guidance

Relevant information should be entered here, the list below is a guide only, it should relate to the work you are carrying out.

- Health and Safety at Work Act 1974

- Management of Health and Safety at Work Regulations 1999

- Provision and Use of Work Equipment Regulation 1998

- Personal Protective Equipment Regulations 1992

- Manual Handling Operations Regulations 1992

- The Work at Height Regulations 2005

- First Aid at Work Regulations 1981

- The Construction (Design and Management) Regulations 2015

- Electricity at Work Regulations 1989

- BS 7671:2018

- Environmental Controls

Every effort will be made to keep noise, dust and waste levels to a minimum and to ensure that they do not cause a hazard or become a nuisance to others. Working areas will be tidied and waste removed prior to leaving site.

Any environmental defect must be reported to your supervisor.

- Personal Protective Equipment

Appropriate information should be entered here dependent on the work being carried out, the following is only intended as an example.

Safety footwear will be worn at all times and at all sites, High Visibility Vests and Hardhats will be worn in and around the site. Additional PPE will be made available as and when required by the Risk Assessment.

- First Aid

All vehicles carry a First Aid Kit.

- Emergency Procedures

Whilst undertaking work all contractors will adhere to the emergency procedure of the site. In case of an emergency contact your Supervisor or the office direct.

- COSHH

Issued separately for all appropriate products

- Accident Procedure

All employees will comply with the Company's “Accident Reporting and Investigation” procedure.

- Enclosed Spaces

For working in confined spaces, employers must ensure a safe system of work. This will include proper procedures that are reviewed and updated regularly. The main dangers that should be considered are suffocation from lack of oxygen, injury from collisions with internal loft trusses or beams, inhalation of a toxic atmosphere and injury from combustion of a flammable atmosphere.

- Supervisor confirmation

I confirm that this Method Statement has been made available, and used when required, by all operatives undertaking installation tasks. If any changes were required to this Method Statement, I further confirm that these changes were communicated and followed by all relevant operatives.

Name of Supervisor:

Signature:

Date:

If changes were required to this Method Statement, the changes are detailed below along with the time and date of these changes:

Detail any changes here and ensure they are approved by the Retrofit Coordinator.