| Customer Information |  |  |
| --- | --- | --- |
| Contact Name: |  |  |
| Address: |  |  |
| Telephone: |  | Email: |
| Project Details |  |  |
| Project Reference: | Product Type: |  |
| Specifier's Contact Details: |  |  |

| Investigation |  |
| --- | --- |
| Is the condition of the existing electrical installation satisfactory in relation to the proposed work? |  |
| Is the condition of the building fabric satisfactory in relation to the proposed work? |  |
| Will the installation work result in non-compliance with the Building Regulations in relation to workmanship, materials, structural stability, fire safety, conservation of fuel and power and electrical safety? |  |
| Will the storage heater installation work result in non-compliance with the IET Wiring Regulations? |  |
| Will the proposed installation be compliant with any requirements set by the storage heater product manufacturer? |  |
| Have relevant checks been undertaken to determine if asbestos containing materials are present? |  |

| General |  |
| --- | --- |
| Is there any potential for moisture build up as a result of the installation? |  |
| Will the functionality and/or safety of installed services (gas, electricity, water, telecommunications etc.) be affected in any way as a result of the installation? |  |
| Is there any potential risk in relation to the ongoing performance of installed services? (If yes, liaison with the Retrofit Designer will need to take place). |  |
| Design specification and Method Statement check |  |
| From the findings of this building inspection, is the installation able to be carried out in line with the full Design Specification? |  |
| From the findings of this building inspection, is the Method Statement suitable and complete? |  |
| Is there any evidence that any form of protected species would be disturbed by the installation process? |  |
| NOTE: Any changes needing to be made or problems encountered as a result of this building inspection are required to be discussed with the Retrofit Coordinator, Designer and/or customer as appropriate and agreement reached on how to proceed before work commences. |  |

| Customer Understanding of the Extent of the Works |  |  |
| --- | --- | --- |
| Does the customer understand the nature and extent of the work? |  |  |
| Have they been made aware of any disruption that may be caused (for example rubbish disposal and the siting of skips) |  |  |
| Does the customer have any particular requests or requirements? |  |  |
| Are the arrangements for site access and the storage of installation materials adequate and appropriate? |  |  |
| Is there any other information which would help ensure the smooth running of the installation process? |  |  |
| This building inspection and its findings, including those relating to the suitability and completeness of the installation method statement, the retrofit design and any customer-related issues, shall be made by the inspector and retained by the Installer, with a copy being made available to the Retrofit Coordinator and any relevant body on request. |  |  |
| Customer Sign Off |  |  |
| By signing the below, you agree to the following statements: - We have explained and you are aware of the nature and extent of the installation and this meets your expectations - The arrangements we have made for site access and installation materials storage are adequate and appropriate for the installation to be undertaken. - The intended days and hours of working are acceptable |  |  |
| Customer Signature: | Date: |  |

| Inspector Sign Off |  |
| --- | --- |
| Inspector name: |  |
| Signed: | Date: |