| Customer Information |  |  |
| --- | --- | --- |
| Contact Name: |  |  |
| Address: |  |  |
| Telephone: |  | Email: |
| Project Details |  |  |
| Project Reference: | Product Type: |  |
| Specifier's Contact Details: |  |  |

| Pre-Design Building Survey Confirmation checklist |  |
| --- | --- |
| A full and detailed pre-design building survey had been undertaken by a competent prior to the retrofit design being undertaken. |  |
| The retrofit design has been produced in accordance with clause 5 of PAS 2030:2023 taking into account the findings of the pre-design building assessment, including: |  |
| Thermal performance calculations |  |
| Moisture risk analysis |  |
| Ventilation requirements and standard/bespoke drawing details |  |
| The main components of the system including the fixing type/method, the insulation type and thickness, the reinforcing coat and type of reinforcement and the finish |  |
| The proposed details for the main interfaces; (thermal bridging, meter boxes, reveals, roofline joists, party walls, base detail with particular reference to below dpc, base/floor details, seals at windows/doors, seals to penetrations, light fittings, sockets, fixing and sealing of surface mounted structures, interfaces with ceilings, interfaces with roof, junctions between the system and other finishes and/or other EEM) clearly demonstrate how the installation will avoid moisture risk particularly at moisture sensitive locations such as timber joist ends |  |
| The installation to the retrofit design is practical and achievable given the particular IWI system chosen for the project and the specific building construction, site concerns and other EEMs planned for the property (consult the measure-interaction matrix in PAS 2030:2023) |  |

| Investigation |  |
| --- | --- |
| Will the installation result in non-compliance with the Building Regulations e.g. in relation to workmanship, materials, structural ability, fire safety |  |
| Will the installation manage moisture Note: Where possible, any areas of non-compliance shall be rectified by selection of another solution/detail, which shall be documented in this pre-installation building inspection and all contract documentation amended accordingly, i.e. specification, drawings, method statement. |  |
| Will the installation result in avoidable thermal bridging Note: Where thermal bridging is avoidable by adaptation of the detail, such measures shall be taken and the contract documents amended to suit. Design details shall be such they incorporate additional capacity, that for example, will provide water management within the system should surface or interstitial condensation occur. |  |
| Will the installation result in the unsafe operation of combustion appliances; Note: Unless an alternative safe detail can be found, IWI works shall not progress in the area causing the unsafe operation. |  |
| Will the installation compromise the functionality of existing ventilation ducts/systems; Note: Unless an alternative safe detail can be found, IWI works shall not progress in the area causing the unsafe operation. |  |
| Will the installation compromise the functionality and/or safety of existing services (gas, electric, water, telephone, etc.); Note: Unless an alternative safe detail can be found, IWI works shall not progress in the area causing the unsafe operation. |  |
| Will the installation result in the proposed installation being non-compliant with any requirements of the EEM supplier or of the retrofit design |  |
| Confirmation that the condition of the substrate is suitable for the works to commence and where all or any of the substrate does not fulfil the requirements for installation, preparation of proposals for adaptations to be made or additional preparation undertaken that will be necessary in order that works can commence. |  |
| Confirmation all instances of potential non-compliance identified in the pre-installation building inspection shall be documented and referred to the Retrofit Coordinator for resolution. Any design adjustments, special adaptations and/or additional preparation requirements shall be confirmed as acceptable in writing, by the system supplier and/or the Retrofit Coordinator. |  |
| Confirmation the retrofit design documentation shall be amended to include any specified changes to the installation, the installation method statement modified accordingly and the pre-installation building inspection records updated to provide documentary evidence that the intended modified installation will address all the issues identified in the pre-installation building inspection and meets the requirements of all parties. |  |

| General |  |
| --- | --- |
| Is there any potential for moisture build up as a result of the installation? |  |
| Will the functionality and/or safety of installed services (gas, electricity, water, telecommunications etc.) be affected in any way as a result of the installation? |  |
| Is there any potential risk in relation to the ongoing performance of installed services? (If YES liaison with the Retrofit Designer and / or Retrofit Coordinator will need to take place). |  |
| Design Specification and Method Statement check |  |
| From the findings of this building inspection, is the installation able to be carried out in line with the full Design Specification? |  |
| From the findings of this building inspection, is the Method Statement suitable and complete? |  |
| Is there any evidence that any form of protected species would be disturbed by the installation process? |  |
| NOTE: Any changes needing to be made or problems encountered as a result of this building inspection are required to be discussed with the Retrofit Coordinator, Designer and/or customer as appropriate and agreement reached on how to proceed before work commences. |  |

| Customer Understanding of the Extent of the Works |  |  |
| --- | --- | --- |
| Does the customer understand the nature and extent of the work? |  |  |
| Have they been made aware of any disruption that may be caused (for example rubbish disposal and the siting of skips) |  |  |
| Does the customer have any particular requests or requirements? |  |  |
| Are the arrangements for site access and the storage of installation materials adequate and appropriate? |  |  |
| Is there any other information which would help ensure the smooth running of the installation process? |  |  |
| This building inspection and its findings, including those relating to the suitability and completeness of the installation method statement, the retrofit design and any customer-related issues, shall be made by the Inspector and retained by the Installer, with a copy being made available to the Retrofit Coordinator and any relevant party on request. |  |  |
| Customer Sign Off |  |  |
| By signing the below, you agree to the following statements: - We have explained and you are aware of the nature and extent of the installation and this meets your expectations - The arrangements we have made for site access and installation materials storage are adequate and appropriate for the installation to be undertaken. - The intended days and hours of working are acceptable |  |  |
| Customer Signature: | Date: |  |

| Inspector Sign Off |  |
| --- | --- |
| Inspector name: |  |
| Signed: | Date: |

The pre-installation building inspection shall be accompanied by evidence that the findings of the pre-installation building inspection have been independently checked by an appropriately qualified person (see B8-l3) prior to commencement of installation, with at least a randomly selected 1 in 10 of those checks (minimum of 1) including physical inspection of the dwelling by an appropriately qualified person.

- The appropriately qualified person shall:

- Be independent and not an employee of the inspector or of the Installer of the IWI

- Not be paid by results nor remunerated only where an assessment is found to be valid

OR

- Verify that a recognised pre-notification process has been undertaken under an industry quality assurance scheme for internal wall insulation, that has features listed in clause B.1 of PAS 2035:2023.

| Independent Inspection Sign Off |  |
| --- | --- |
| Independent inspector: | Unique Reference: |
| Signed: | Date: |