Terms and Conditions

- All relevant Retrofit Pre-install assessments and installation related tasks will be in compliance with all requirements of PAS 2030:2023, including the relevant annex(es) and to any publication referred to within that annex.

- The alternative Retrofit Installer must have certification to PAS 2030:2023 and must install the project in accordance with the Retrofit Design.

- We will ensure that any necessary building or planning permissions have been obtained before any work takes place, and where required, the alternative installer will ensure all notifiable work will be informed to Building Control in an appropriate manner for the area of work and the geographical location of such works if it is necessary for them to complete the installation.

- All persons involved will have the necessary qualifications and competences to carry out the tasks they are required to perform. All information and proof of qualifications will be supplied to us upon our request. The required qualifications can be found in the appropriate annex of the current edition of PAS 2030.

- There must be a thorough and competent risk assessment carried out for each installation by person/persons qualified to do so. If we have already completed one, we will provide it to the alternative Retrofit Installer.

- The alternative installer is responsible for maintaining any measuring equipment used in a known state of calibration, information on such calibration will be forwarded to us on request.

- Work will be carried out to the timescale agreed when an instruction is placed. If an alternative timetable is required, the installer must agree this with the client and the Retrofit Coordinator.

- The alternative installer will comply with all applicable Health & Safety legislation and ensure that each work activity is properly governed by qualified personnel.

- The alternative installer will be expected to do the following:

  - Provide the client with all necessary paperwork as detailed in our policies and procedures and in accordance with PAS 2030:2023

  - Accommodate any changes to the proposed installation where possible

  - Inform us immediately of any complaints received from the client along with details of what steps have been taken to rectify said complaint

Alternative Installer Agreement

I agree that pertaining to the Process Continuity Plan for Lamtans Engineering LTD, we will undertake the installation should Lamtans Engineering LTD be unable to do so, in accordance with PAS 2030:2023, the Retrofit Design, and our own internal policies and procedures.

Print Name:

Signed:

On behalf of:

Date:

For Lamtans Engineering LTD

Name:

Position:

Signed:

Date: